## SOP for Outdoor Animal Waste

POTENTIAL POLLUTANTS AND ACTIVITIES

Potential Pollutants released from MTSU activities.

Activity Potential Pollutants

GLOSSARY OF TERMS

Biochemical oxygen demand – Depletion of dissolved oxygen in water caused by decomposition of chemical or biologic matter.

Catch Basin – A unit that is installed to capture and retain debris, particulate matter, or other solid materials, but allows stormwater to “flow through” to its discharge location

Drip Irrigation –irrigation via a perforated device (i.e. hose) that allows for a slow watering method with reduced evaporation and runoff losses

Hydraulic – Referring to water

Loading – Term used in conjunction with sediment and hydraulic to describe excessive amounts (of the term that is described)

Naturescaping – An alternative landscaping technique that incorporates native plants and creates beneficial wildlife habitat – also conserves water and energy, reduces soil/water pollution.

Oil/Water Separator – A unit that is installed “in line” to a wastewater discharge pipe which is devised to capture petroleum derived materials that float on water

Pesticides – Products that are toxic and are used to kill pests - can be classified as insecticides, herbicides, rodenticides, biocides, and aquacides.

Sediments - Small particles of matter that settle to the bottom of a body of water

Silt – Material consisting of mineral soil particles ranging in diameter from 0.02 millimeters to 0.002 millimeters

Stormwater - rainwater runoff or snow melt waters – these waters can interact with different types of materials, transporting contaminants to surface waters (i.e. streams, creeks, rivers)

Toxicity –The relative degree of being poisonous

Zero input, low input (lawns) - have minimal need for care (i.e. addition of fertilizers/pesticides, water, etc.)

ANIMAL WASTE COLLECTION AT TENNESSEE LIVESTOCK CENTER

POLLUTION PREVENTION/GOOD HOUSEKEEPING PRACTICES

1. IDENTIFY IMPACTS TO STORMWATER/RECEIVING WATERS

Tennessee Livestock Center

2. PROBLEM EVALUATION: ASSESS IMPACT ON RECEIVING WATERS

Biochemical oxygen demand

Solids loading

Toxicity to aquatic plants and wildlife

3. IDENTIFY SOLUTIONS (BMP’s)

House all animals in an enclosed, roofed structure

ID/utilize “permitted” waste disposal facilities for animal wastes

Remove waste from site accordingly

4. INSPECTION PROCEDURES

Inspect shelter regularly for necessary cleanup/removal of wastes

 Inspect site regularly to make sure no contaminated runoff enters the drainage system.

5. MAINTENANCE PROCEDURES

Map storm drain locations accurately to avoid illegal discharges.

Remove spilled food and animal wastes weekly.  Clean-up Monday and Tuesday for events that set up on Wednesday.

Do not locate dumpsters next to stormdrains or headwalls.

Identify needs of washdown for animals and drains.  Washdown drain needs to be disconnected from stormwater system.

Dumpsters removed from site when full.  Keep logs of manual labor hours and statements when Director calls for dumpster pick-up and when the dumpsters are emptied.

Cover dumpsters to keep runoff from entering storm drain system.

ANIMAL WASTE COLLECTION AT MILLER COLISEM

POLLUTION PREVENTION/GOOD HOUSEKEEPING PRACTICES

1. IDENTIFY IMPACTS TO STORMWATER/RECEIVING WATERS

Miller Coliseum

2. PROBLEM EVALUATION: ASSESS IMPACT ON RECEIVING WATERS

Biochemical oxygen demand

Solids loading

Toxicity to aquatic plants and wildlife

3. IDENTIFY SOLUTIONS (BMP’s)

House all animals in an enclosed, roofed structure

ID/utilize “permitted” waste disposal facilities for animal wastes

Remove waste from site accordingly

Construct designated area for waste containment

4. INSPECTION PROCEDURES

Inspect shelter regularly for necessary cleanup/removal of wastes

5. MAINTENANCE PROCEDURES

Map storm drain locations accurately to avoid illegal discharges

Remove spilled food and animal wastes on a regular basis

Do not locate dumpsters next to stormdrains or headwalls

Identify needs of washdown for animals and check drains to final location of dirty water

Dumpsters removed from site when full.  Keep logs of manual labor hours and statements when Director calls for dumpster pick-up and when the dumpsters are emptied.

Measure effectiveness